## Size
Component | Unit | Total
Solar PV | kW | 57.98
Wind Turbine | kW | 4.29
Battery bank | kWh | 191.63
Diesel Genset 1 | kW | 22.02
Ice Tank | kg | 107.29
Compressor | kW | 2.2

## Cost
Total
Weighted Net present cost | System | - | kUSD | 193.716
Net present cost | System | 1 | kUSD | 193.716
Total Investment cost | System | - | kUSD | 111.778
Total fixed O&M cost | System | - | kUSD | 45.387
Total variable O&M cost | System | 1 | kUSD | 36.838
Salvage value | System | - | kUSD | -0.287
Levelized Cost of Energy | System | - | USD/kWh | 0.3196
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.3196
Investment cost | Solar PV | - | kUSD | 55.083
| Wind Turbine | - | kUSD | 8.159
| Battery bank | - | kUSD | 28.745
| Ice Tank | - | kUSD | 0.001
| Compressor | - | kUSD | 10.984
| Diesel Genset 1 | - | kUSD | 8.807
Fixed cost | Solar PV | - | kUSD | 4.828
| Wind Turbine | - | kUSD | 1.987
| Battery bank | - | kUSD | 8.398
| Ice Tank | - | kUSD | 0
|  |  | kUSD | 26.743
| Diesel Genset 1 | - | kUSD | 3.431
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 4.856
Fuel cost | Diesel | 1 | kUSD | 31.982
Fuel CO2 emission | System | 1 | ton | 734.113
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 734.113

## Yearly cash flows
| Fixed costs |  |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Wind Turbine | Battery bank | Ice Tank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.94 | 1.98
Year 2 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.99 | 2.16
Year 3 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.03 | 2.47
Year 4 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.05 | 3.04
Year 5 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.07 | 3.91
Year 6 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.07 | 5.11
Year 7 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.06 | 6.56
Year 8 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.04 | 8.19
Year 9 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1.02 | 9.96
Year 10 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 1 | 11.87
Year 11 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.97 | 13.98
Year 12 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.94 | 16.25
Year 13 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.91 | 18.71
Year 14 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.87 | 21.36
Year 15 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.84 | 24.2
Year 16 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.81 | 27.24
Year 17 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.79 | 30.49
Year 18 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.79 | 33.94
Year 19 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.81 | 37.59
Year 20 | 0.99 | 0.41 | 1.72 | 0 | 0.7 | 0 | 0.87 | 41.47

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Ice Tank usage
| % | % | % | % | %
Year 1 | 6.2 | 95.97 | 18.96 | 53.45 | 14.8
Year 2 | 6.46 | 95.61 | 15.86 | 53.21 | 14.79
Year 3 | 7.02 | 95.02 | 12.94 | 52.69 | 14.8
Year 4 | 8.23 | 93.94 | 10.38 | 51.54 | 14.81
Year 5 | 10.08 | 92.33 | 8.26 | 49.77 | 14.82
Year 6 | 12.54 | 90.21 | 6.66 | 47.4 | 14.82
Year 7 | 15.35 | 87.77 | 5.41 | 44.71 | 14.83
Year 8 | 18.24 | 85.18 | 4.35 | 41.95 | 14.83
Year 9 | 21.12 | 82.54 | 3.41 | 39.22 | 14.83
Year 10 | 23.98 | 79.86 | 2.57 | 36.55 | 14.83
Year 11 | 26.88 | 77.12 | 1.89 | 33.88 | 14.82
Year 12 | 29.76 | 74.35 | 1.34 | 31.24 | 14.82
Year 13 | 32.65 | 71.56 | 0.93 | 28.65 | 14.81
Year 14 | 35.48 | 68.8 | 0.6 | 26.23 | 14.8
Year 15 | 38.29 | 66.06 | 0.38 | 24.03 | 14.79
Year 16 | 41.05 | 63.35 | 0.24 | 22.12 | 14.78
Year 17 | 43.76 | 60.7 | 0.15 | 20.62 | 14.78
Year 18 | 46.38 | 58.12 | 0.1 | 19.55 | 14.77
Year 19 | 48.94 | 55.61 | 0.07 | 19.17 | 14.76
Year 20 | 51.41 | 53.18 | 0.06 | 19.41 | 14.73

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage | Ice Tank usage
Component | Diesel Genset 1 | Solar PV | Wind Turbine | - | Battery bank | Ice Tank
Scenario | 1 | 1 | 1 | 1 | 1 | 1
| % | % | % | % | % | %
Year 1 | 5.06 | 89.33 | 6.64 | 18.96 | 53.45 | 14.8
Year 2 | 5.32 | 88.99 | 6.62 | 15.86 | 53.21 | 14.79
Year 3 | 5.83 | 88.44 | 6.58 | 12.94 | 52.69 | 14.8
Year 4 | 6.89 | 87.43 | 6.5 | 10.38 | 51.54 | 14.81
Year 5 | 8.5 | 85.94 | 6.39 | 8.26 | 49.77 | 14.82
Year 6 | 10.66 | 83.97 | 6.24 | 6.66 | 47.4 | 14.82
Year 7 | 13.14 | 81.69 | 6.08 | 5.41 | 44.71 | 14.83
Year 8 | 15.73 | 79.28 | 5.9 | 4.35 | 41.95 | 14.83
Year 9 | 18.33 | 76.83 | 5.71 | 3.41 | 39.22 | 14.83
Year 10 | 20.94 | 74.34 | 5.53 | 2.57 | 36.55 | 14.83
Year 11 | 23.61 | 71.78 | 5.34 | 1.89 | 33.88 | 14.82
Year 12 | 26.3 | 69.2 | 5.15 | 1.34 | 31.24 | 14.82
Year 13 | 29.01 | 66.61 | 4.95 | 0.93 | 28.65 | 14.81
Year 14 | 31.69 | 64.04 | 4.76 | 0.6 | 26.23 | 14.8
Year 15 | 34.37 | 61.49 | 4.57 | 0.38 | 24.03 | 14.79
Year 16 | 37.04 | 58.97 | 4.39 | 0.24 | 22.12 | 14.78
Year 17 | 39.66 | 56.5 | 4.2 | 0.15 | 20.62 | 14.78
Year 18 | 42.23 | 54.1 | 4.02 | 0.1 | 19.55 | 14.77
Year 19 | 44.74 | 51.76 | 3.85 | 0.07 | 19.17 | 14.76
Year 20 | 47.2 | 49.5 | 3.68 | 0.06 | 19.41 | 14.73