## Size
Component | Unit | Total
PV panels | kW | 0
Battery bank | kWh | 0
Diesel Genset | kW | 4.35

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 11.449
Net present cost | System | 1 | kUSD | 11.449
Total Investment cost | System | - | kUSD | 52.186
Total fixed O&M cost | System | - | kUSD | 1.033
Total variable O&M cost | System | 1 | kUSD | 5.574
Salvage value | System | - | kUSD | -47.343
Levelized Cost of Energy | System | - | USD/kWh | 0.6647
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | -2.2914
Investment cost | PV panels | - | kUSD | 0
| Battery bank | - | kUSD | 0
| Diesel Genset | - | kUSD | 2.175
| National grid | - | kUSD | 50.011
Fixed cost | PV panels | - | kUSD | 0
| Battery bank | - | kUSD | 0
| Diesel Genset | - | kUSD | 0.124
| National Grid | - | kUSD | 0.909
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
Fuel cost | Diesel | 1 | kUSD | 0.606
Grid electricity cost | National Grid | 1 | kUSD | 4.967
Grid electricity revenue | National Grid | 1 | kUSD | 0
Fuel CO2 emission | System | 1 | ton | 0.84
Grid CO2 emission | System | 1 | ton | 4.426
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 5.266

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0 | 0 | 0.14 | 1 | 0 | 0 | 0.67 | 5.46 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 3.88 | 0 | 0 | 0 | 96.12

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset | PV panels | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 3.88 | 0 | 0 | 0 | 96.12