## Size
Component | Unit | Class1 | Class2 | Class3 | Class4 | Total
RES | kW | - | - | - | - | 1.9574e-05
Battery Storage System | kW | - | - | - | - | 0.00078082
Genset | kW | - | - | - | - | 121.2901
Solar collector | kW | 1.5438e-06 | 6.36e-07 | 1.8205e-05 | 1.4782e-07 | 2.0533e-05
Tank | kW | 333.3447 | 952.937 | 96.4516 | 0.0053841 | 1382.7388
NG Boiler | kW | 119.466 | 208.0919 | 0.0043195 | 0 | 327.5622
Electric resistance | kW | 21.4484 | 43.0087 | 2.6165 | 0.0016401 | 67.0752

## Cost
Cost item | Component | Scenario | Unit | Class1 | Class2 | Class3 | Class4 | Total
Net Present Cost | System | - | MUSD | - | - | - | - | 0.11817
Investment Cost | RES | - | MUSD | - | - | - | - | 3.9148e-08
| Battery Storage System | - | MUSD | - | - | - | - | 4.2945e-07
| Genset | - | MUSD | - | - | - | - | 0.024258
| Solar collector | - | MUSD | 6.4838e-10 | 2.6712e-10 | 7.6462e-09 | 6.2083e-11 | 8.6237e-09
| NG Boiler | - | MUSD | 0.011947 | 0.020809 | 4.3195e-07 | 0 | 0.032756
| Tank | - | MUSD | 0.012 | 0.034306 | 0.0034723 | 1.9383e-07 | 0.049779
| Electric resistance | - | MUSD | 0.0021448 | 0.0043009 | 0.00026165 | 1.6401e-07 | 0.0067075
Fixed Cost | RES | - | MUSD | - | - | - | - | 7.5502e-10
| Battery Storage System | - | MUSD | - | - | - | - | 8.2826e-09
| Genset | - | MUSD | - | - | - | - | 0.0023392
| Solar collector | - | MUSD | 9.3787e-12 | 3.8638e-12 | 1.106e-10 | 8.9801e-13 | 1.2474e-10
| NG Boiler | - | MUSD | 0.00017281 | 0.000301 | 6.2481e-09 | 0 | 0.00047381
| Tank | - | MUSD | 0.00017358 | 0.00049623 | 5.0226e-05 | 2.8037e-09 | 0.00072004
| Electric resistance | - | MUSD | 3.1025e-05 | 6.2211e-05 | 3.7847e-06 | 2.3724e-09 | 9.7023e-05
Replacement Cost | Battery Storage System | - | MUSD | - | - | - | - | 2.0765e-07
Fuel cost | Genset | 1 | MUSD | - | - | - | - | 0.0006441
| Boiler | 1 | MUSD | 0.00012173 | 0.00027152 | 2.106e-09 | 0 | 0.00039325
Electric lost load cost | System | 1 | MUSD | - | - | - | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0 | 0 | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 5.7861 | 2.8455 | 8.6316
Fossil Primary Energy Supply | % | - | - | 1
Renewable Primary Energy Supply | % | - | - | 2.982e-08
Efficiency | % | 0.20485 | 1.1714 | 0.52347
Levelized Cost of Energy | USD/kWh | - | - | 27.1202