## Size
Component | Unit | Total
Solar PV | kW | 95.09
Battery bank | kWh | 319.82
Diesel Genset 1 | kW | 10.81
Ice Tank | kg | 38.12
Compressor | kW | 2.38

## Cost
Total
Weighted Net present cost | System | - | kUSD | 156.057
Net present cost | System | 1 | kUSD | 156.057
Total Investment cost | System | - | kUSD | 145.083
Total fixed O&M cost | System | - | kUSD | 15.188
Total variable O&M cost | System | 1 | kUSD | 26.131
Salvage value | System | - | kUSD | -30.346
Levelized Cost of Energy | System | - | USD/kWh | 0.2785
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2785
Investment cost | Solar PV | - | kUSD | 90.331
| Battery bank | - | kUSD | 47.974
| Ice Tank | - | kUSD | 0.076
| Compressor | - | kUSD | 2.376
| Diesel Genset 1 | - | kUSD | 4.326
Fixed cost | Solar PV | - | kUSD | 4.863
| Battery bank | - | kUSD | 8.608
| Ice Tank | - | kUSD | 0.114
|  |  | kUSD | 0.568
| Diesel Genset 1 | - | kUSD | 1.035
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 5.347
Fuel cost | Diesel | 1 | kUSD | 20.784
Fuel CO2 emission | System | 1 | ton | 92.076
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 92.076

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Ice Tank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.63 | 2.88 | 0.04 | 0.35 | 0 | 1.81 | 2.36
Year 2 | 1.63 | 2.88 | 0.04 | 0.35 | 0 | 1.81 | 4.68
Year 3 | 1.63 | 2.88 | 0.04 | 0.35 | 0 | 1.79 | 7.71
Year 4 | 1.63 | 2.88 | 0.04 | 0.35 | 0 | 1.76 | 10.96
Year 5 | 1.63 | 2.88 | 0.04 | 0.35 | 0 | 1.74 | 14.5

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Ice Tank usage
| % | % | % | % | %
Year 1 | 3.85 | 96.82 | 10.29 | 53.54 | 0.03
Year 2 | 7.27 | 93.89 | 7.84 | 51.01 | 0.03
Year 3 | 11.41 | 90.31 | 6.09 | 47.85 | 0.03
Year 4 | 15.45 | 86.77 | 4.58 | 44.81 | 0.03
Year 5 | 19.47 | 83.22 | 3.28 | 42.18 | 0.02

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Ice Tank usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank | Ice Tank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 3.61 | 96.82 | 10.29 | 53.54 | 10.33
Year 2 | 6.76 | 93.89 | 7.84 | 51.01 | 8.62
Year 3 | 10.5 | 90.31 | 6.09 | 47.85 | 7.38
Year 4 | 14.1 | 86.77 | 4.58 | 44.81 | 6.45
Year 5 | 17.62 | 83.22 | 3.28 | 42.18 | 5.73