## Size
Component | Unit | Total
PV panels | - | 1
Wind Turbine | - | 0
Battery bank | - | 2

## Cost
Total
Weighted Net present cost | System | - | kUSD | 0.753
Net present cost | System | 1 | kUSD | 0.753
Total Investment cost | System | - | kUSD | 1.465
Total fixed O&M cost | System | - | kUSD | 0.026
Total variable O&M cost | System | 1 | kUSD | 0
Salvage value | System | - | kUSD | -0.738
Levelized Cost of Energy | System | - | USD/kWh | 1.434
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 1.434
Investment cost | PV panels | - | kUSD | 1.165
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 0.3
Fixed cost | PV panels | - | kUSD | 0.014
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 0.012
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
RES CO2 emission | RES | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 0

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost
Component | PV panels | Wind Turbine | Battery bank | System | Battery bank
Scenario | - | - | - | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.02 | 0 | 0.02 | 0 | 0.01

## Yearly energy parameters
| Renewables penetration | Curtailment share | Battery usage
| % | % | %
Year 1 | 100 | 53.28 | 63.73

## Yearly energy parameters SC
| Renewable penetration |  | Curtailment share | Battery usage
Component | PV panels | Wind Turbine | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 100 | 0 | 53.28 | 63.73