## Size
Component | Unit | Total
PV panels | kW | 212.13
Wind Turbine | kW | 83.43
Battery bank | kWh | 0
Diesel Genset 1 | kW | 212.61

## Cost
Total
Weighted Net present cost | System | - | kUSD | 194.168
Net present cost | System | 1 | kUSD | 194.168
Total Investment cost | System | - | kUSD | 490.683
Total fixed O&M cost | System | - | kUSD | 15.981
Total variable O&M cost | System | 1 | kUSD | 75.961
Salvage value | System | - | kUSD | -388.457
Levelized Cost of Energy | System | - | USD/kWh | 0.2188
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2188
Investment cost | PV panels | - | kUSD | 247.132
| Wind Turbine | - | kUSD | 158.508
| Battery bank | - | kUSD | 0
| Diesel Genset 1 | - | kUSD | 85.043
Fixed cost | PV panels | - | kUSD | 3.707
| Wind Turbine | - | kUSD | 6.605
| Battery bank | - | kUSD | 0
| Diesel Genset 1 | - | kUSD | 5.67
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
Fuel cost | Diesel | 1 | kUSD | 75.961
Fuel CO2 emission | System | 1 | ton | 208.796
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 208.796

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | PV panels | Wind Turbine | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 4.45 | 7.93 | 0 | 6.8 | 0 | 0 | 91.15

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 22.26 | 87.12 | 42.14 | 0

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage
Component | Diesel Genset 1 | PV panels | Wind Turbine | - | Battery bank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 22.26 | 20.23 | 66.89 | 42.14 | 0