## Size
Component | Unit | Total
Solar PV | - | 16
Wind Turbine | - | 0
Battery bank | - | 0
Diesel Genset 1 | - | 6

## Cost
Total
Weighted Net present cost | System | - | kUSD | 109.013
Net present cost | System | 1 | kUSD | 109.013
Total Investment cost | System | - | kUSD | 21.2
Total fixed O&M cost | System | - | kUSD | 3.077
Total variable O&M cost | System | 1 | kUSD | 87.037
Salvage value | System | - | kUSD | -2.302
Levelized Cost of Energy | System | - | USD/kWh | 0.3371
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.3371
Investment cost | Solar PV | - | kUSD | 15.2
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 0
| Diesel Genset 1 | - | kUSD | 6
Fixed cost | Solar PV | - | kUSD | 1.298
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 0
| Diesel Genset 1 | - | kUSD | 1.779
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
Fuel cost | Diesel | 1 | kUSD | 87.037
Fuel CO2 emission | System | 1 | ton | 436.604
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 436.604

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Wind Turbine | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 16.51
Year 2 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 17.03
Year 3 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 17.56
Year 4 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 18.11
Year 5 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 18.68
Year 6 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 19.27
Year 7 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 19.88
Year 8 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 20.52
Year 9 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 21.18
Year 10 | 0.27 | 0 | 0 | 0.38 | 0 | 0 | 21.86

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 66.49 | 40.61 | 10.67 | 0
Year 2 | 66.75 | 39.88 | 9.92 | 0
Year 3 | 67.02 | 39.14 | 9.19 | 0
Year 4 | 67.3 | 38.41 | 8.48 | 0
Year 5 | 67.59 | 37.68 | 7.8 | 0
Year 6 | 67.9 | 36.95 | 7.14 | 0
Year 7 | 68.21 | 36.22 | 6.51 | 0
Year 8 | 68.55 | 35.5 | 5.91 | 0
Year 9 | 68.9 | 34.78 | 5.33 | 0
Year 10 | 69.26 | 34.06 | 4.79 | 0

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | Wind Turbine | - | Battery bank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 66.49 | 40.61 | 0 | 10.67 | 0
Year 2 | 66.75 | 39.88 | 0 | 9.92 | 0
Year 3 | 67.02 | 39.14 | 0 | 9.19 | 0
Year 4 | 67.3 | 38.41 | 0 | 8.48 | 0
Year 5 | 67.59 | 37.68 | 0 | 7.8 | 0
Year 6 | 67.9 | 36.95 | 0 | 7.14 | 0
Year 7 | 68.21 | 36.22 | 0 | 6.51 | 0
Year 8 | 68.55 | 35.5 | 0 | 5.91 | 0
Year 9 | 68.9 | 34.78 | 0 | 5.33 | 0
Year 10 | 69.26 | 34.06 | 0 | 4.79 | 0