## Size
Component | Unit | Step 1 | Step 2 | Total
PV panels | - | 34 | 0 | 34
Wind Turbine | - | 1 | 0 | 1
Battery bank | - | 30 | 0 | 30

## Cost
|  |  |  | Total | Step 1 | Step 2
Weighted Net present cost | System | - | kUSD | 79.2 | - | -
Net present cost | System | 1 | kUSD | 79.2 | - | -
Total Investment cost | System | - | kUSD | 108.56 | - | -
Total fixed O&M cost | System | - | kUSD | 7.119 | - | -
Total variable O&M cost | System | 1 | kUSD | 0.152 | - | -
Salvage value | System | - | kUSD | -36.631 | - | -
Levelized Cost of Energy | System | - | USD/kWh | 2.9589 | - | -
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 2.9589 | - | -
Investment cost | PV panels | - | kUSD | 39.61 | 39.61 | 0
| Wind Turbine | - | kUSD | 19 | 19 | 0
| Battery bank | - | kUSD | 49.95 | 49.95 | 0
Fixed cost | PV panels | - | kUSD | 1.089 | - | -
| Wind Turbine | - | kUSD | 1.451 | - | -
| Battery bank | - | kUSD | 4.579 | - | -
Lost load cost | System | 1 | kUSD | 0 | - | -
Replacement cost | Battery bank | 1 | kUSD | 0.152 | - | -
RES CO2 emission | RES | - | ton | 0 | - | -
BESS CO2 emission | BESS | - | ton | 0 | - | -
TOTAL CO2 emission | System | 1 | ton | 0 | - | -

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost
Component | PV panels | Wind Turbine | Battery bank | System | Battery bank
Scenario | - | - | - | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.71 | 0.95 | 3 | 0 | 0.1
Year 2 | 0.71 | 0.95 | 3 | 0 | 0.1

## Yearly energy parameters
| Renewables penetration | Curtailment share | Battery usage
| % | % | %
Year 1 | 100 | 89.4 | 6.17
Year 2 | 100 | 89.38 | 6.17

## Yearly energy parameters SC
| Renewable penetration |  | Curtailment share | Battery usage
Component | PV panels | Wind Turbine | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 11.8 | 88.2 | 89.4 | 6.17
Year 2 | 11.8 | 88.2 | 89.38 | 6.17