## Size
Component | Unit | Total
Solar PV | kW | 89.58
Battery bank | kWh | 304.35
Diesel Genset 1 | kW | 9.69
Ice Tank | kg | 2.84
| kg | 248.9

## Cost
Total
Weighted Net present cost | System | - | kUSD | 142.825
Net present cost | System | 1 | kUSD | 142.825
Total Investment cost | System | - | kUSD | 134.887
Total fixed O&M cost | System | - | kUSD | 13.768
Total variable O&M cost | System | 1 | kUSD | 22.699
Salvage value | System | - | kUSD | -28.529
Levelized Cost of Energy | System | - | USD/kWh | 0.2728
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2728
Investment cost | Solar PV | - | kUSD | 85.103
| Battery bank | - | kUSD | 45.653
| Ice Tank | - | kUSD | 0.006
| Compressor | - | kUSD | 0.249
| Diesel Genset 1 | - | kUSD | 3.877
Fixed cost | Solar PV | - | kUSD | 4.581
| Battery bank | - | kUSD | 8.192
| Ice Tank | - | kUSD | 0.008
|  |  | kUSD | 0.06
| Diesel Genset 1 | - | kUSD | 0.928
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 5.082
Fuel cost | Diesel | 1 | kUSD | 17.617
Fuel CO2 emission | System | 1 | ton | 77.041
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 77.041

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Ice Tank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.53 | 2.74 | 0 | 0.31 | 0 | 1.72 | 2.37
Year 2 | 1.53 | 2.74 | 0 | 0.31 | 0 | 1.72 | 4.16
Year 3 | 1.53 | 2.74 | 0 | 0.31 | 0 | 1.7 | 6.45
Year 4 | 1.53 | 2.74 | 0 | 0.31 | 0 | 1.68 | 8.97
Year 5 | 1.53 | 2.74 | 0 | 0.31 | 0 | 1.66 | 11.69

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Ice Tank usage
| % | % | % | % | %
Year 1 | 3.87 | 96.62 | 9.73 | 50.71 | 0
Year 2 | 6.46 | 94.22 | 7.61 | 48.35 | 0
Year 3 | 9.55 | 91.31 | 6.15 | 45.5 | 0
Year 4 | 12.65 | 88.31 | 4.85 | 42.77 | 0
Year 5 | 15.7 | 85.28 | 3.68 | 40.3 | 0

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Ice Tank usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank | Ice Tank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 3.82 | 96.62 | 9.73 | 50.71 | 3.83
Year 2 | 6.38 | 94.22 | 7.61 | 48.35 | 3.84
Year 3 | 9.43 | 91.31 | 6.15 | 45.5 | 3.84
Year 4 | 12.5 | 88.31 | 4.85 | 42.77 | 3.84
Year 5 | 15.53 | 85.28 | 3.68 | 40.3 | 3.84