## Size
Component | Unit | Step 1 | Step 2 | Step 3 | Step 4 | Total
PV panels | kW | 54.67 | 0 | 0 | 0 | 54.67
Battery bank | kWh | 227.2 | 0 | 0 | 0 | 227.2
Diesel Genset | kW | 2.83 | 0 | 0 | 0 | 2.83

## Cost
Cost item | Component | Scenario | Unit | Step 1 | Step 2 | Step 3 | Step 4 | Total
Weighted Net present cost | System | - | kUSD | - | - | - | - | 198.678
Net present cost | System | 1 | kUSD | - | - | - | - | 198.678
Total Investment cost | System | - | kUSD | - | - | - | - | 123.82
Total fixed O&M cost | System | - | kUSD | - | - | - | - | 50.609
Total variable O&M cost | System | 1 | kUSD | - | - | - | - | 24.249
Salvage value | System | - | kUSD | - | - | - | - | 0
Levelized Cost of Energy | System | - | USD/kWh | - | - | - | - | 0.2812
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | - | - | - | - | 0.2812
Investment cost | PV panels | - | kUSD | 58.766 | 0 | 0 | 0 | 58.766
| Battery bank | - | kUSD | 49.301 | 0 | 0 | 0 | 49.301
| Diesel Genset | - | kUSD | -23.587 | 0 | 0 | 0 | -23.587
| National Grid | - | kUSD | 0 | 31.053 | 19.281 | 11.972 | 62.307
| National grid | - | kUSD | 0 | 0 | 0 | 0 | 0
Fixed cost | PV panels | - | kUSD | - | - | - | - | 11.171
| Battery bank | - | kUSD | - | - | - | - | 38.686
| Diesel Genset | - | kUSD | - | - | - | - | 0.752
| National Grid | - | kUSD | - | - | - | - | 0
Lost load cost | System | 1 | kUSD | - | - | - | - | 0
Replacement cost | Battery bank | 1 | kUSD | - | - | - | - | 11.012
Fuel cost | Diesel | 1 | kUSD | - | - | - | - | 13.237
Grid electricity cost | National Grid | 1 | kUSD | - | - | - | - | 0
Grid electricity revenue | National Grid | 1 | kUSD | - | - | - | - | 0
Fuel CO2 emission | System | 1 | ton | - | - | - | - | 39.18
Grid CO2 emission | System | 1 | ton | - | - | - | - | 0
RES CO2 emission | RES | - | ton | - | - | - | - | 0
GEN CO2 emission | GEN | - | ton | - | - | - | - | 0
BESS CO2 emission | BESS | - | ton | - | - | - | - | 0
TOTAL CO2 emission | System | 1 | ton | - | - | - | - | 39.18

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 2 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 3 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 4 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 5 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 6 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 7 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 8 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 9 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 10 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 11 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 12 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 13 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 14 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 15 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 16 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 17 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 18 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 19 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0
Year 20 | 1.31 | 4.54 | 0.09 | 0 | 0 | 1.29 | 1.55 | 0 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 2.06 | 98.4 | 16.22 | 52.05 | 0
Year 2 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 3 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 4 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 5 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 6 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 7 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 8 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 9 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 10 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 11 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 12 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 13 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 14 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 15 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 16 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 17 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 18 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 19 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 20 | 2.06 | 98.4 | 16.15 | 52.05 | 0

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset | PV panels | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 2.06 | 98.4 | 16.22 | 52.05 | 0
Year 2 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 3 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 4 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 5 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 6 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 7 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 8 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 9 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 10 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 11 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 12 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 13 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 14 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 15 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 16 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 17 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 18 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 19 | 2.06 | 98.4 | 16.12 | 52.05 | 0
Year 20 | 2.06 | 98.4 | 16.15 | 52.05 | 0