## Size
Component | Unit | Step 1 | Step 2 | Total
Solar PV | kW | 333.9 | 10.86 | 344.76
Battery bank | kWh | 0.08 | 0 | 0.08
Diesel Genset 1 | kW | 212.34 | 13.76 | 226.09

## Cost
|  |  |  | Total | Step 1 | Step 2
Weighted Net present cost | System | - | kUSD | 740.218 | - | -
Net present cost | System | 1 | kUSD | 740.218 | - | -
Total Investment cost | System | - | kUSD | 603.974 | - | -
Total fixed O&M cost | System | - | kUSD | 26.219 | - | -
Total variable O&M cost | System | 1 | kUSD | 497.587 | - | -
Salvage value | System | - | kUSD | -387.563 | - | -
Levelized Cost of Energy | System | - | USD/kWh | 0.4442 | - | -
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.4442 | - | -
Investment cost | Solar PV | - | kUSD | 512.927 | 499.351 | 13.576
| Battery bank | - | kUSD | 0.027 | 0.027 | 0
| Diesel Genset 1 | - | kUSD | 89.52 | 84.935 | 4.585
Fixed cost | Solar PV | - | kUSD | 15.53 | - | -
| Battery bank | - | kUSD | 0.002 | - | -
| Diesel Genset 1 | - | kUSD | 10.687 | - | -
Lost load cost | System | 1 | kUSD | 0 | - | -
Replacement cost | Battery bank | 1 | kUSD | 0.001 | - | -
Fuel cost | Diesel | 1 | kUSD | 497.586 | - | -
Fuel CO2 emission | System | 1 | ton | 1029.873 | - | -
RES CO2 emission | RES | - | ton | 0 | - | -
GEN CO2 emission | GEN | - | ton | 0 | - | -
BESS CO2 emission | BESS | - | ton | 0 | - | -
TOTAL CO2 emission | System | 1 | ton | 1029.873 | - | -

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 10.02 | 0 | 6.79 | 0 | 0 | 316.23
Year 2 | 10.34 | 0 | 7.23 | 0 | 0 | 337.04

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 53.14 | 51.27 | 8.3 | 0
Year 2 | 53.77 | 50.48 | 7.9 | 0

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 53.14 | 51.27 | 8.3 | 0
Year 2 | 53.77 | 50.48 | 7.9 | 0